MODEL : STAR 505R

ACCESS CONTROLLER

OWNER’S MANUAL

Please read this instruction manual carefully

Contents

0. Important safety instructions
---------------- 3

1. General




---------------- 4

2. Specification



---------------- 4

3. Connection



---------------- 5

4. Operation



---------------- 7

5. Block diagram


---------------- 24

6. FCC Registration information
---------------- 25

7. Warranty and service

---------------- 26
IMPORTANT SAFETY INSTRUCTIONS

When using your door access controller, basing safety precautions should always be followed to reduce the risk of fire, electrical shock, and injury to persons including following:

1. Read and understand all instructions. 

2. Follow all warnings and instructions marked on the product

3. Do not use liquid cleaners, or aerosol cleaners. Use a damp cloth for cleaning. if necessary, use a mild soap.

4. Do not use this product near water, for example near a bath tub, wash bowl, kitchen sink, or laundry tub, in a wet basement, or near a swimming pool.

5. This product should be operated only from the type of power source indicated on the marking label. if you are not sure of the type of power supply to your home, consult your dealer or local power company.

6. Never push objects of any kind into this product though the cabinet slots as they may touch voltage points or short out parts that could result in a risk of fire or electric shock. Never spill liquid of any kind on the product.

7. To reduce the risk of electric shock, do not disassemble this product, but take it to a qualified serviceman when some service or repair work is required. Opening or removing covers may expose you to dangerous voltages or other risks. incorrect reassembly can cause electric shock when the appliance is subsequently used.

8. Unplug this product from the wall outlet and refer to qualified service personnel under the  following conditions:

  a. When the power supply cord or plug is damaged or frayed.

  b. If liquid has been spilled into the product

  c. If the product has exposed to rain or water.

  d. If the product doses not operate normally by following the operating instructions.

    Adjust only those controls, that are covered by the operating instructions. Improper

    adjustment of other controls in damage and will often require extensive work by  a qualified 

    technician to restore the to normal operation.

  e. If the product exhibit a distinct change in performance.

STAR 505R Access Controller

1. General

STAR 505R is an intelligent one door Access Controller based on powerful 8 bit Microprocessor to meet a simple and cost-effective access control market requirement. It is designed for low cost but high security as well as convenience and reliability. User friendly device allows you to register max 4,000 ID numbers (10,000 ID numbers option) and easy to add or to delete ID numbers and it has 1,500 transaction buffers (2,500 option). Built in 10cm RF reader and PIN pad gives you various operating modes such as RF card and RF + 4 digit PIN Number. Independent 5 Input ports can detect exit button, door status, PIR sensor, Fire sensor and Temper switch and you can program related output sources and active timing from the front keypads. It is possible to use as standalone or network communication via RS-422. All control setting values such as ID numbers, Inputs/Outputs, Real time clock and Time schedule can be Download/Upload from/to the host computer and all event transaction reports to the Host. The modern design and easy installation will provide you an accurate access control for single door and 3 LED indicators informs you all system operating status at real time. STAR505R will give you field proven reliability and cost-effective solution anywhere the access controls and high security is required.  

2. Specification

.CPU

           : 8 bit Microprocessor

.Memory

           : Program memory (32KB ROM)





Data memory (64KB RAM; battery backup)

.Card holders/Event buffers: 4,000 Card holders/1,500 Event buffers





 (10,000/2,500 option)

.Reader Ports/Data format  : 1 port/Wiegand format

        .Inputs/Outputs
            : Isolation Inputs(4ea)





 Relay Outputs(2ea; COM,NO,NC)





 TTL Outputs(2ea)

.Communication
           : RS-422 port, address selectable(DIP switch)





 Baud Rate : 4800bps, 9600bps(default), 19200bps

.Display 

           : 1 x LCD module, 2lines x 16ch, 65.6 x 13.8mm view 

area  

        .Keypads

           : 16 Numeric keypad

.Self Diagnostic
           :  Yes

.LED indicators
           : 3 LEDs (RED, GREEN, YELLOW)
 


.Power

           : DC 12V, 250mA

.Operating Environment     : 0(C ~ +60(C, 10( ~ 90( humidity

.Reset

           : power on reset

   


.Terminal Block
           : Screw clamp

3. Connection 

[image: image65.wmf] 

1(GND)

 

2(+12V)

 

SMPS

 

HOST

 

LOCK DOOR

 

ALARM

 

2(R1 COM)

 +12V

 

J5

 

J4

 

J1

 

J3

 

IN1

 

IN4

 

IN2

 

IN3

 

1(R1 NC)

 

6(R2 NO)

 

3(R1 NO)

 

4(R2 NC)

 

5(R2 COM)

+12V

 

8(IN1)

 

6(IN2)

 

4(IN3)

 

2(IN4)

 

7

 

5

 

3

 

1

 

STAR 505R

 

J2

 

6(+5V)

 

5(GND)

 

4(TB

-

)

 

2(RB

-

)

 

1(RA+)

 

3(TA+)

 

1(TTL OUT1)

 

2(TTL OUT2)

 


TABLE FOR WIRE COLORS
< J1 > POWER
NO
FUNCTION
COLOR

1
GND
BLACK

2
+12V
RED

<J2> TTL OUTPUT

NO
FUNCTION
COLOR

1
TTL OUT1
ORANGE WITH WHITE LINE

2
TTL OUT2
BROWN WITH WHITE LINE

 <J3> COMMUNICATION

NO
FUNCTION
COLOR

1
RA(+)
YELLOW

2
RB(-)
GRAY

3
TA(+)
BLUE

4
TB(-)
BROWN

5
GND
BLACK WITH WHITE LINE

6
+5V
RED WITH WHITE LINE

<J4> INPUT

NO
FUNCTION
COLOR

1
GND
NC

2
IN4
ORANGE

3
GND
NC

4
IN3
YELLOW WITH RED LINE

5
GND
NC

6
IN2
GREEN

7
GND
NC

8
IN1
GREEN WITH WHITE LINE

 <J5> RELAY 
NO
FUNCTION
COLOR

1
R1 NC
BLUE WITH WHITE LINE

2
R1 COM
GRAY WITH RED LINE

3
R1 NO
WHITE WITH RED LINE

4
R2 NC
PURPLE WITH WHITE LINE

5
R2 COM
WHITE

6
R2 NO
PURPLE

4. Operation
( CAUTION:  Factory Setting

  (Initial) MASTER CARD (master password: 0000), two unregistered cards and two registered cards.(password: 0000, Time Schedule: 00, Access Door:1)  See 4.1.4 ID Registration for more detail.


When user power on STAR505R, user see the following on LCD, where 02/18 11:59:11 means Month/Day Hour: Minute: second. Hence the following is not exactly same with the LCD, of which user see.  Now, user can test normal operation (Normal mode) and change setting in STAR505R (Setup mode)    


[image: image1.wmf]STAR505R  V1.0

02/18 11:59:12


<Fig 1> STAR505R Normal State

Normal Mode
1. When user get registered card near STAR505R, user will see the green LED on, the RELAY1 active, and the following on LCD about three seconds.   


[image: image2.wmf]STAR505R V1.0

APPROVAL


<Fig 2> Normal Operation
2. When user get unregistered card near STAR505R, user will see the yellow LED on, the RELAY2 active, and the following on LCD about three seconds.


[image: image3.wmf]STAR505R V1.0

UNREGISTERED ID


<Fig 3> Abnormal Operation
Setup Mode
 When user get (initial) MASTER CARD near STAR505R, user see the following on LCD.


[image: image4.wmf]Master Password

[____]


<Fig 4> Wait state for 

Master password
Now press Master password (four digit). Default master password is 0000. If Master Card and Master Password are matched, User will see, for a few second, the following message
, and then user is in setup mode. 


[image: image5.wmf]Communication ID

       01


<Fig 5> Comm address 

In setup mode, there are four setup menus. By default, user is in Setup Menu 1. The change between setup menu is done by pressing Function key
.


[image: image6.wmf] MODE SELECTION

RF ONLY


<Fig 6> setup menu 1

SETUP MENU 1: General Setup Menu  (mode selection, time setting, password change (not used in STAR505R), anti pass back (not used in STAR505R) setup, baud rate change, event clear, master ID change, system initialization, card ID clear, and time schedule clear)

SETUP MENU 2: Time schedule and In/Out Setup 


[image: image7.wmf] TIME SCHEDULE


<Fig 7> setup menu 2 

SETUP MENU 3: ID Registration and deletion


[image: image8.wmf]ID  REGISTRATION


<Fig 8> setup menu 3 

SETUP MENU 4: Self-Diagnostic


[image: image9.wmf]   SRAM  TEST


<Fig 9> setup menu 4  

( CAUTION:  (1) ‘F1’, ‘F2’, ‘F3’, and ‘F4’:  Main Setup menu change

                             (2) Keypad digit ‘4’, ‘6’,’2’ and ’8’ used as cursor. 

~  to change submenu,  ID list, etc. 

 ~ ‘2’and ‘8’ used only in Time Schedule setup (see 4.2) 

(3) ‘ESC’: used to escape from a state to upper state.     

(4) ’ENT’: used to enter the menu or to confirm the change.

 4.1 Setup Menu 1: General setup menu

4.1.1 Mode selection:  The state is to change operation mode.

[image: image10.wmf] MODE SELECTION

RF ONLY


              Submenu


[image: image11.wmf]MODE SELECTION

->RF ONLY


   (1)


[image: image12.wmf] MODE SELECTION

->RF + PIN


                   (2)

Submenu (1) mode: users are required to use RF-Card in normal operation

Submenu (2) mode: users are required to use RF-Card and 4-digit password  

(See 4.3.1 ID REGISTRATION). 

4.1.2. Time Setting 

[image: image13.wmf]  TIME SETTING

 01/30 12:12:12


Submenu


[image: image14.wmf]YYYYMMDDhhmmssW


Note)

YYYY: Year    MM: Month     DD:  Day     hh: Hour   mm: Minute   ss: second  

W:      week (1:Sunday, 2:Monday, . . ., 7:Saturday )                         

(ex) 2000 02 18 23 59 00 1

4.1.3. Password change : Although this mode is in mode setting, this mode is not used in STAR505R.


[image: image15.wmf]PASSWORD CHAGE


4.1.4. Anti Pass Back Setup : Although this mode is in mode setting, this mode is not used in STAR505R.


[image: image16.wmf]APB SETUP

NOT USE


4.1.5. Baud Rate : When STAR505R communicate with host, baud rate determine the speed.    ( Default Baud rate of STAR505R is 9600 )


[image: image17.wmf]BAUD RATE

9600




Submenu





[image: image18.wmf]BAUD RATE

->4800


                             1)


[image: image19.wmf]BAUD RATE

->9600


                          2)


[image: image20.wmf]BAUD RATE

->19200


                          3)

4.1.6. Event Clear : Remove all event which is stored in memory.

[image: image21.wmf]EVENT  CLEAR




Submenu


[image: image22.wmf]EVENT  CLEAR

1 - Yes,  0 - No


                               1)

4.1.7. Master ID (Card and Password) change: 

[image: image23.wmf]MASTER ID CHANGE


    (  Wait for a RF-CARD, which should be registered as a master card.


[image: image24.wmf]Scanning...


( Wait for Master password 

 
[image: image25.wmf]00342860

____


 < Scanned Card ID number

 < wait for password

After Master Password is entered, ‘Master Card Registered’ message appear a few second.  Now, Master Id and Password is changed. 


4.1.8. System Initialize : Initialization of all setting value

[image: image26.wmf]SYS INITIALIZE


( To initialize enter ‘1’, if not, enter ‘0’

[image: image27.wmf]SYS INITIALIZE

1 - Yes,  0 - No


4.1.9. Card ID clear : remove all card ID which is stored in memory.

[image: image28.wmf]CARD ID CLEAR





( To clear all ID enter ‘1’, if not, enter ‘0’ 


[image: image29.wmf]CARD ID CLEAR

1 - Yes,  0 - No


4.1.10. Time schedule clear : remove all time schedule in memory.

[image: image30.wmf]TIME SCHE CLEAR





( To clear all ID enter ‘1’, if not, enter ‘0’ 


[image: image31.wmf]TIME SCHE CLEAR

1 - Yes,  0 - No


4.2. Setup menu 2
4.2.1. Time schedule : Register or change time schedule.

[image: image32.wmf]TIME SCHEDULE


                 ( Time Schedule setting


[image: image33.wmf]T/S : 01  HOL  1

 00:00 - 00:00


   (Note)  

      -     The first line shows (1) Time Schedule number: 01-10. 

                                             (2) Week: MON, . . . SUN, HOL. 

                                             (3) Index: 1 –5 

· Five index gives flexibility for setting time schedule, because user can set in maximum five disconnected time schedule.

-    The second line show time for each schedule, which is in first line.

    (Example)

       If time schedule set like below, then user, who is registered with T/S #01(see 4.3.1 ID registration),  are allowed to access only in 9:00-12:00, 13:00-17:00(Monday) and 18:00-19:00(Sunday). 

  (T/S : 01  MON 1) 09:00 -  12:00

          (T/S : 01  MON 2) 13:00 -  17:00    

          (T/S : 01  SUN  1)  18:00 - 19:00

          the other case          00:00 -  00:00

4.2.2. In/Out define : set output for each input.

[image: image34.wmf]IN/OUT  DEFINE


( The relation between In and Out


[image: image35.wmf]Index No.:01

03 00 00 00 00


Note)

1) The relation between Index number and Input is in the table on the below.

2) Index number 9-13 is not used in STAR505R. 

3) The second line show for each index the output status. (see table)

   (00: no operation, 99: always on, 01-98: operation on the given seconds. )

 4) Input1(EXIT), Input2(CONTACT), Input3(PIR) and Input4(FIRE)

    5) Relay1(LOCK DOOR) and Relay2(ALARM)

Index 
Input
Relay1
Relay2
TTL1
TTL2
Internal Buzzer 

01
Input1
03
00
00
00
00

02
Input2
00
00
00
00
00

03
Input3
00
00
03
00
00

04
Input4
99
99
99
99
99

05
Temper S/W
00
99
99
99
99

06
Valid ID
03
00
00
00
00

07
Invalid ID
00
03
00
00
00

08
Invalid T/S
00
03
00
00
00

09-13
Not Used 

(Table 1)  The relation between Index, Input and Output(default)
4.3 Setup menu 3

4.3.1 ID Registration


[image: image36.wmf]ID REGISTRATION


  (  Wait for an ID-CARD which will be registered.


[image: image37.wmf]Scanning...


( Wait for Personal Information

 
[image: image38.wmf]00342860

____ __ _


  < Scanned Card ID number

< wait for personal information.

Note) 

(1) The second line shows 

Password + applied time schedule + door access number.

(2) This Password is used in RF+PIN mode  (see 4.1.1 Mode Selection)

(3) The possible time schedule number is eleven:

 ->  #00             means anytime access possible. 

 - >  #01 - #10  which is set in 4.2.1 Time Schedule.

(4) Since STAR505R has only one door access, door access number should be ‘1’.

After Personal Information is entered, ‘ID Registered’ message appear a few second. Then ID Registration is over for one ID Card. Now STAR505R is waiting for another ID card registration (i.e. ‘Scanning’ message is appear on LCD). 


4.3.2 ID Deletion


[image: image39.wmf]ID DELETE


    (  Wait for an ID-CARD number.


[image: image40.wmf]Enter Card No.

->________


After the card number to be deleted is entered:

( Card Number is in registered card list.

 
[image: image41.wmf]ID  DELETE


           ( Card Number is not in registered card list, 


the following message is appeared for a few second. 

 
[image: image42.wmf]ID Unregistered


4.3.3 ID List : List the ID which is registered.

[image: image43.wmf]ID  LIST


( If registered ID is empty.


[image: image44.wmf] MEMORY

        EMPTY


                  ( If registered ID is not empty. ( press ‘3’ or ‘6’ to see the other registered ID)


[image: image45.wmf]    00342860

   1111 00 03


     Note) As we know, 00342860 is a ID number, 

1111 is a password, 

00 is a time schedule, and 

03 is access door for ID 00342860 

4.4 Setup menu 4

4.4.1. SRAM test

[image: image46.wmf]SRAM  TEST


           ( If RAM(KM681000C) is bad, then the message is the following


[image: image47.wmf]Memory fail!!! 0

RAM testing...


        ( If RAM(KM681000C) is good, the following message is appear on LCD


[image: image48.wmf]RAM test pass!!!

Press any key...


4.4.2. Output test : test five output port.
Outputs are On/Off three times. 

(output1: relay1, output2: relay2, output3: TTL1, output4: TTL2, output5: Buzzer) 


[image: image49.wmf]   OUTPUT TEST



( When Output test finished, the following message appear on LCD 


[image: image50.wmf]    OUTPUT 5

Press any key...


4.4.3. LCD test

[image: image51.wmf]    LCD TEST



[image: image52.wmf]  Last  Update

Press any key...




(  When LCD test is over the following message is appear

4.4.4. Keypad test

[image: image53.wmf]  KEYPAD  TEST


              ( When KeyPad test start, the following message is appear on LCD

                Now, press keypad then the matched number will disappear. 
(note: A-F is correspond to F1-F4, ESC and ENT ) 

[image: image54.wmf]0123456789ABCDEF


4.4.5. Reader test

[image: image55.wmf]  READER  TEST


( Wait for test ID card


[image: image56.wmf]Scanning...


                  ( Test Card Number which is read.


[image: image57.wmf]Reader 1

        00342860


4.4.6. Input test : test five Input port and DIP switch.

[image: image58.wmf]   INPUT TEST


                     ( The following show input status


[image: image59.wmf]   INPUT TEST

1110001   11111


Note)

1) The second line show the status of the DIP switch (eight bit) and five inputs.

2) DIP switch : ‘0’ mean on and ‘1’ mean off

3) Input 1-4  : ‘0’ mean on (active) and ‘1’ mean off(inactive)

4) Input 5 (Temper switch): ‘0’ mean off and ‘1’ mean on.

4.4.7. Communication test
To test communication with PC, connect Rx+ and Tx+ and connect Rx- and Tx-. 

[image: image60.wmf]    COMM TEST



( The follwing show the communication is fail


[image: image61.wmf]Tx data = 0

   COMM  fail


              ( The following show the communication is success.


[image: image62.wmf]COMM test pass!!

Press any key...


5. BLOCK DIAGRAM
[image: image63.jpg]0sC

DIP S

22M
BATTERY
ROM RAM RTC
INPUT (7c2 (KMB81 ©0s12¢
56) 000C) 887)
MPU
(W78C32)
LCD MODULE KEYPAD
From
READER
RS422
MODULE

Block Diagram of STARG0SR





[image: image64.jpg]4MHZ Clock

Divider

Microcontroller
(PICTBCT11)

Carrier Signal

(/32)

Amplifier

Fiter, Ampliier
and Phase comparator

Envelope Detector

Block Diagram of RF Reader

Antenna Coil




FCC REGISTRATION INFORMATION

FCC REQUIREMENTS PART 15
Caution: Any changes or modifications in construction of this device which are not expressly approved by the responsible for compliance cold void the user's authority to operate the equipment. 

NOTE: This device complies with part 15 of the FCC Rules. 

Operation is subject to the following two conditions:

1. This device may not cause harmful interference, and 

2. This device must accept any interference received, including interference that may cause

  undesired operation.

Note : This equipment has been tested and found to comply with the limits for a Class A digital device, pursuant to part 15 of the FCC Rules. These limits are designed to provide reasonable protection against harmful interference when the equipment is operated in a commercial environment. This equipment generates, uses, and can radiate radio frequency energy and, if not installed and used in accordance with the instruction manual, may cause harmful interference to radio communications. Operation of this equipment in a residential area is likely to cause harmful interference in which case the user will be required to correct the interference at his own expense.
WARRANTY AND SERVICE
The following warranty and service information applies only to the U.S. For information in other countries, please contact your local distributor.
To obtain in or out of warranty service, please prepay shipment and return the unit to the appropriate facility listed below.

IN THE UNITED STATES

RF LOGICS, INC.  Service center               

3026 SCOTT BLVD,                     

SANTA CLARA, CA 95054                 

Tel. : (408) 980-0001

Fax.: (408) 980-8060

Email: webmaster@rflogics.com
Website : www.rflogics.com
OUTSIDE OF THE UNITED STATES

ID TECK CO., LTD.  Service center               

4F ACE TECHNOTOWER BLDG.

684-1 DUNGCHON-DONG, GANSUH-KU
SEOUL 157-030, KOREA 
Tel. : 82-2-659-0055

Fax.: 82-2-659-0086

Email: webmaster@id-teck.com
Website : www.id-teck.com
Please use the original container, or pack the unit(s) in a sturdy carton with sufficient packing to prevent damage. Include the following information:

1. A proof-of-purchase indicating model number and date of purchase.

2. Bill-to address

3. Ship-to address

4. Number and description of units shipped

5. Name and telephone number of person to call, should contact be necessary

6. Reason for return and description of the problem.

  Damage occurring during shipment is deemed the responsibility of the carrier, and claims

  should be made directly with the carrier.     




� EMBED Word.Picture.8  ���








� It says the ID number of this STAR505R is 01. This ID number is necessary, when several STAR505Rs are connected to host. 


� F1: setup menu 1, F2: setup menu2, F3: setup menu3, F4: setup menu4





PAGE  
２７

[image: image66.wmf] 

1(GND)

 

2(+12V)

 

SMPS

 

HOST

 

LOCK DOOR

 

ALARM

 

2(R1 COM)

 +12V

 

J5

 

J4

 

J1

 

J3

 

IN1

 

IN4

 

IN2

 

IN3

 

1(R1 NC)

 

6(R2 NO)

 

3(R1 NO)

 

4(R2 NC)

 

5(R2 COM)

+12V

 

8(IN1)

 

6(IN2)

 

4(IN3)

 

2(IN4)

 

7

 

5

 

3

 

1

 

STAR 505R

 

J2

 

6(+5V)

 

5(GND)

 

4(TB

-

)

 

2(RB

-

)

 

1(RA+)

 

3(TA+)

 

1(TTL OUT1)

 

2(TTL OUT2)

 

_1012412475.vsd
ID DELETE
�


_1012899114.vsd
Index No.:01
03 00 00 00 00 �


_1012906134.vsd
 MODE SELECTION
->RF + PIN�


_1012906308.vsd
BAUD RATE
9600�


_1012906407.vsd
TIME SCHEDULE
�


_1012901823.doc


1(GND)







2(+12V)







SMPS







HOST







LOCK DOOR







ALARM







2(R1 COM) +12V







J5







J4







J1







J3







IN1







IN4







IN2







IN3







1(R1 NC)







6(R2 NO)







3(R1 NO)







4(R2 NC)







5(R2 COM)+12V







8(IN1)







6(IN2)







4(IN3)







2(IN4)







7







5







3







1







STAR 505R







J2







6(+5V)







5(GND)







4(TB-)







2(RB-)







1(RA+)







3(TA+)







1(TTL OUT1)







2(TTL OUT2)












_1012836811.vsd
STAR505R V1.0
UNREGISTERED ID�


_1012895797.vsd
    00342860
   1111 00 03�


_1012830836.vsd
STAR505R V1.0
APPROVAL�


_1012377615.vsd
STAR505R  V1.0
02/18 11:59:12�


_1012391470.vsd
PASSWORD CHAGE
�


_1012400556.vsd
00342860
____�


_1012407068.vsd
ID REGISTRATION
�


_1012410625.vsd
Enter Card No.
->________�


_1012410836.vsd
ID  DELETE
�


_1012411035.vsd
ID Unregistered�


_1012407175.vsd
00342860
____ __ _�


_1012402869.vsd
TIME SCHE CLEAR
�


_1012402980.vsd
TIME SCHE CLEAR
1 - Yes,  0 - No�


_1012402806.vsd
CARD ID CLEAR
1 - Yes,  0 - No�


_1012396879.vsd
BAUD RATE
->19200�


_1012399109.vsd
MASTER ID CHANGE
�


_1012396675.vsd
BAUD RATE
->4800�


_1012389099.vsd
MODE SELECTION
->RF ONLY�


_1011697588.vsd
SYS INITIALIZE
1 - Yes,  0 - No�


_1011697612.vsd
RAM test pass!!!
Press any key...�


_1011697616.vsd
  Last  Update
Press any key...�


_1011697621.vsd
Reader 1
        00342860�


_1011697624.vsd
   INPUT TEST
1110001   11111�


_1011697626.vsd
Tx data = 0
   COMM  fail�


_1011697628.vsd
COMM test pass!!
Press any key...�


_1011697625.vsd
    COMM TEST
�


_1011697623.vsd
   INPUT TEST
�


_1011697619.vsd

0123456789ABCDEF�


_1011697620.vsd
  READER  TEST
�


_1011697618.vsd
  KEYPAD  TEST
�


_1011697614.vsd
    OUTPUT 5
Press any key...�


_1011697615.vsd
    LCD TEST
�


_1011697613.vsd
   OUTPUT TEST
�


_1011697600.vsd
ID  LIST
�


_1011697606.vsd
SRAM  TEST
�


_1011697607.vsd
Memory fail!!! 0
RAM testing...�


_1011697602.vsd
 MEMORY
        EMPTY�


_1011697595.vsd
T/S : 01  HOL  1
 00:00 - 00:00�


_1011697598.vsd
IN/OUT  DEFINE
�


_1011697589.vsd
CARD ID CLEAR
�


_1011697573.vsd
  TIME SETTING
 01/30 12:12:12�


_1011697580.vsd
EVENT  CLEAR
�


_1011697587.vsd
SYS INITIALIZE
�


_1011697581.vsd
EVENT  CLEAR
1 - Yes,  0 - No�


_1011697583.vsd
Scanning...
�


_1011697575.vsd
APB SETUP
NOT USE�


_1011697578.vsd
BAUD RATE
->9600�


_1011697574.vsd
YYYYMMDDhhmmssW
�


_1011697568.vsd
 TIME SCHEDULE
�


_1011697570.vsd
   SRAM  TEST
�


_1011697571.vsd
 MODE SELECTION
RF ONLY�


_1011697569.vsd
ID  REGISTRATION
�


_1011697566.vsd
Communication ID
       01�


_1011697567.vsd
 MODE SELECTION
RF ONLY�


_1011697565.vsd
Master Password
[____]�


